## Sheet1
Date:
Dongle:
Impedance Test - Fully Assembled Dongle
Element # | Capacitance (pF) | Impedance (Ω) | Pass/Fail | Short/Open | Notes
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
AVG:
Procedure: Impedance is taken at 800 kHz by a VNA measurement of the S11 parameter